Appendix K

Warranty, Operations, and Maintenance

# 1.0 Warranty, Operations, and Maintenance

Please provide the requested information in the specified order. If any question is not applicable, please indicate so and avoid leaving any responses blank. Clearly mark any confidential information as such. The responses will be used to evaluate project proposals and guide commercial discussions with shortlisted Bidders. This section applies only to Phase Two offers, and the information provided will be considered binding.

## 1.1 Warranty

Please complete the Warranty Summary of Appendix F - Offer Form.

Please provide a written description of the following items:

- Key assumptions, exclusions, or clarifications for all key equipment warranty coverage:

- Battery System

- Power Conversion System (PCS)

- Medium-Voltage Transformer (MVT)

- Medium-Voltage Switchgear (MVSG)

- Energy Management System (EMS) and Power Plant Controller (PPC)

- Engineering, Procurement, and Construction (EPC) Workmanship and Defects

- Please provide the following warranty documents as attachments:

  - Full copy of Bidder’s standard full-wrap warranty for the contract term.

  - Copies of all included Original Equipment Manufacturer (OEM) equipment warranties

## 1.2 Operations

1. Provide options and pricing for Battery Energy Storage System (BESS) operations.

## 1.3 Maintenance

- Will the Bidder provide the maintenance in-house or subcontract this service to a third party?

- If subcontracting maintenance services, include the provider’s name and a copy of the maintenance services agreement, including a description of the services provided, in the bid pricing.

- Please describe all required maintenance activities during the Warranty Period, including estimated man-hours, frequency, and annual cost.

- Provide projected system downtime for each maintenance activity, including the percentage of system offline and duration of downtime

- During the warranty period, can the maintenance be performed by Owner or a third party? If so, would Owner or the third party require specific OEM certifications?

- Provide a sample annual maintenance schedule.

## 1.4 Monitoring

- Will the Bidder provide the monitoring in-house or subcontract this service to a third party?

- If subcontracting monitoring services, include the provider’s name and a copy of the monitoring services agreement, including a description of the services provided, in the bid pricing.

- Provide the location of the Remote Monitoring Center (ROC) and hours of operation.

- Provide details on the quantity of battery storage resources that are currently monitored and the aggregate MW and MWh.

- Provide response times for different types of events (Level 1, 2, 3…).

- Describe the reporting frequency and format provided to the Owner

## 1.5 Spare Parts

1. Provide a list of recommended spare parts, part numbers, and pricing.